## Schedule
Mark | Building | Level | From Room | To Room | Exterior | Qty | Door Location | Configuration | Width | Leaf 1 Width | Leaf 2 Width | Height | Thickness | Handing | Door Type | Door Material | Frame Material | Frame Type | Fire Rating | Smoke Rating | Acoustic Rating | Hardware | Comments | Note 1 | Note 2 | Note 3 | Arch Door Material | Arch Door Type | Arch Frame Material | Arch Frame Type | Depth

## Data
Level | UOM | UOM Description | FIRE RATING | DOOR MATERIAL | DOOR MATERIAL DESCRIPTION | DOOR DESIGN | DOOR DESIGN Description | FRAME MATERIAL | FRAME DESIGN | SPECIFIER REMARKS | SPECIFIER REMARKS Description | SPECIFIER REMARKS Description | Exterior | Usage | Door Location | Handing | Handing Description | Frame Material | Frame Material Description | Smoke Rating | Acoustic Rating
| SG | Single | 30 | AL | Aluminum | AL.AL1.M | Interior Alum FG Medium Stile | AL | Custom | AL | Alarmed Device |  | Yes | High | BOH | Bifold | Bi Folding | AL | Aluminum | TRUE | 25db
| AA | Pair, Both Active | 60 | Existing | Existing | AL.AL1.N | Interior Alum FG Narrow Stile | Existing | AL.3F.X | APERIO | Aperio Lock |  |  | Low | FOH | Bypass | Bi Passing | Existing | Existing | FALSE | 30db
| AI | Pair, Active/Inactive | 120 | FRP | Fibre Reinforced Plastic | AL.AL1.W | Interior Alum FG Wide Stile | FRP | AL.3F.T1 | ASST | Power Operator |  |  |  |  | DBL/ACT | Double Swing | FRP | Fibre Reinforced Plastic |  | 35db
| DE | Pair, Double Egress | 180 | GL | Glass | AL.AL2.M | Interior Alum FG2 Medium Stile | GL | AL.3F.T2 | BLAST | Blast Resistance Assembly |  |  |  |  | LH | LEFT HAND DOOR: The hinges are on the left and the door opens into the room. | GL | Glass |  | Bespoke
| SD | Single, Double Acting | 240 | HM | Hollow Metal | AL.AL2.N | Interior Alum FG2 Narrow Stile | HM | AL.SL.T1 | BLOW | Blow Open Operator |  |  |  |  | LHA/RH | Pair. LH Active + RH | HM | Hollow Metal
| UE | Pair, Unequal | Smoke | None | None | AL.AL2.W | Interior Alum FG2 Wide Stile | None | AL.SL.T2 | BULLET | Bullet Resistance Assembly |  |  |  |  | LHR | LEFT HAND REVERSE DOOR: The hinges are on the left and the door opens toward the outside of the room. | None | None
| PC | Pair, Communicating |  | OT | Other | Existing | Existing | OT | AL.SL.X | CHO | Closer Holder |  |  |  |  | LHR/LHR | Pair. LH Reverse + LH Reverse | OT | Other
| BP | Bi-Parting |  | SS | Stainless Steel | FR.F | FRP Flush | SS | Existing | CLASS | Classroom Lock |  |  |  |  | LHRA/LHR | Pair. LH Reverse Active + LH Reverse | SS | Stainless Steel
| SB | Single Bi-Folding |  | ST | Steel | FR.FG | FRP Full Glass | ST | HM.3F.D | CLASS SEC | Classroom Security Lock |  |  |  |  | LHRA/RHR | Pair. LH Reverse Active + RH Reverse | ST | Steel
| PB | Pair Bi-Folding |  | WD | Timber | FR.FG2 | FRP FG 2 Lite | WD | HM.3F.M | CR | Card Reader |  |  |  |  | NH | No Handing | WD | Timber
| BS | Bi-Passing |  | GW | Glass with wooden frame | FR.G | FRP Half Lite |  | HM.3F.M20 | CRL | Card Reader Lock |  |  |  |  | Pocket | Pocket Sliding
| OT | Other |  | GA | Glass with aluminium frame | FR.L | FRP Louver |  | HM.3F.M45 | DEL | Delayed Egress |  |  |  |  | RH | RIGHT HAND DOOR: The hinges are on the right and the door opens into the room.
| SS | Single Surface Slider |  | GS | Glass with steel frame | FR.N | FRP Narrow Lite |  | HM.3F.M90 | DPS | Door Position Switch |  |  |  |  | RH/LH | Pair RH + LH
| SP | Bi-Parting Surface Slider |  | GM | Glass with metal frame | FR.V | FRP Vision Lite |  | HM.3F.M4 | ELL | Electrified Lock |  |  |  |  | RHA/LH | Pair RH Active + LH
| TS | Telescopic Slider |  |  |  | GL.P | All Glass Patch Panel |  | HM.3F.M420 | EO | Exit Only |  |  |  |  | RHR | RIGHT HAND REVERSE DOOR: The hinges are on the right and the door opens toward the outside of the room.
| CS | Cavity Sliding |  |  |  | GL.R | All Glass T & B Rails |  | HM.3F.M445 | ES | Electric Strike |  |  |  |  | RHR/LHR | Pair. LH Reverse/RH Reverse
| CP | Cavity Sliding, Pair |  |  |  | HM.F | HM Flush |  | HM.3F.M490 | EXT | Exterior |  |  |  |  | RHR/RHR | Pair RH + RH Reverse
[6 empty] | HM.F.20 | HM Flush 20M Rated |  | HM.3F.MX | FAR | Fire Alarm Release |  |  |  |  | RHRA/LHR | Pair. RH Reverse Active + LH Reverse
[6 empty] | HM.F.45 | HM Flush 45M Rated |  | HM.3F.M4X | FEMA | Severe Storm Assembly |  |  |  |  | RHRA/RHR | Pair. RH Reverse Active + RH Reverse
[6 empty] | HM.F.90 | HM Flush 90M Rated |  | HM.CO.D | GASKET | Draft / Smoke Seal System |  |  |  |  | Slider | Sliding
[6 empty] | HM.F.X | HM Flush Exterior |  | HM.CO.M | HO | Mechanical Hold-Open
[6 empty] | HM.FG | HM Full Glass |  | HM.DE.M | INTER | Intercom
[6 empty] | HM.FG2 | HM Full Glass 2 Lite |  | HM.DE.M20 | KP | Keypad
[6 empty] | HM.FG2.X | HM Full Glass 2 Lite Exterior |  | HM.DE.M45 | LL | Lead Lined
[6 empty] | HM.FG.X | HM Full Glass Exterior |  | HM.DE.M90 | MHO | Magnetic Holder
[6 empty] | HM.G | HM Half Glass |  | HM.SL.D | ML | Magnetic Lock
[6 empty] | HM.G.X | HM Half Glass Exterior |  | HM.SL.M | MOT | Motion Sensor
[6 empty] | HM.L | HM Louver |  | None | OFFICE | Office Lock
[6 empty] | HM.N | HM Narrow Lite |  | Other | PASSAGE | Passage Set
[6 empty] | HM.N.20 | HM Narrow Lite 20M Rated |  | SF.BO | PB | Push Button
[6 empty] | HM.N.45 | HM Narrow Lite 45M Rated |  | WD.3F | PP | Push/Pull
[6 empty] | HM.N.90 | HM Narrow Lite 90M Rated |  |  | PRIVACY | Privacy Lock
[6 empty] | HM.N.X | HM Narrow Lite Exterior |  |  | PT | Power Transfer
[6 empty] | HM.V | HM Vision |  |  | REX | Request to Exit
[6 empty] | HM.V.20 | HM Vision 20M Rated |  |  | RM | Remote Release
[6 empty] | HM.V.45 | HM Vision 45M Rated |  |  | SEC | Security Assembly
[6 empty] | HM.V.90 | HM Vision 90M Rated |  |  | SS | Sound Seals
[6 empty] | None | None |  |  | STORE | Storeroom Lock
[6 empty] | SF.AL1.M | ALUM SF- FG Med Stile |  |  | TEMP | Temperature Rise
[6 empty] | SF.AL1.N | ALUM SF- FG Nar Stile |  |  | THERMAL | Energy Efficient System
[6 empty] | SF.AL1.W | ALUM SF- FG Wide Stile |  |  | VR | Vandal Resistant Assembly
[6 empty] | SF.AL2.M | ALUM SF- Full Glass 2 Lite Med Stile |  |  | WIND | Wind Resistant Assembly
[6 empty] | SF.AL2.N | ALUM SF- FG 2Lite Nar Stile |  |  | ACOUSTIC | Acoustic Rated Assembly
[6 empty] | SF.AL2.W | ALUM SF- FG 2 Lite Wide Stile |  |  | ALF | Anti-ligature Furniture
[6 empty] | SR.1 | Stile & Rail 1 Panel |  |  | DDA | AS1428 Compliant Hardware
[6 empty] | SR.2 | Stile & Rail 2 Panel |  |  | KICK | Kickplate
[6 empty] | SR.3A | Stile & Rail 3 Equal Panel |  |  | PED | Panic Exit Device
[6 empty] | SR.3B | Stile & Rail 3 Panel |  |  | ED | Egress Door
[6 empty] | SR.4 | Stile & Rail 4 Panel
[6 empty] | SR.5 | Stile & Rail 5 Panel
[6 empty] | SR.6 | Stile & Rail 6 Panel
[6 empty] | TF.F | Thermal Fuse Flush
[6 empty] | TF.FG | Thermal Fuse Full Glass
[6 empty] | TF.FG2 | Thermal Fuse FG-2 Lite
[6 empty] | TF.G | Thermal Fuse Half Glass
[6 empty] | TF.N | Thermal Fuse Narrow Lite
[6 empty] | TF.V | Thermal Fuse Vision Kit
[6 empty] | WD.F | Wood Flush
[6 empty] | WD.F.20 | Wood Flush 20M
[6 empty] | WD.F.45 | Wood Flush 45M
[6 empty] | WD.F.60 | Wood Flush 60M
[6 empty] | WD.F.90 | Wood Flush 90M
[6 empty] | WD.FG | Wood Full Glass
[6 empty] | WD.FG2 | Wood FG-2 Lite
[6 empty] | WD.G | Wood Half Glass
[6 empty] | WD.L | Wood Louver
[6 empty] | WD.N | Wood Narrow Lite
[6 empty] | WD.N.20 | Wood Narrow Lite 20M
[6 empty] | WD.N.45 | Wood Narrow Lite 45M
[6 empty] | WD.N.60 | Wood Narrow Lite 60M
[6 empty] | WD.N.90 | Wood Narrow Lite 90M
[6 empty] | WD.V | Wood Vision Kit
[6 empty] | WD.V.20 | Wood Vision Kit 20M
[6 empty] | WD.V.45 | Wood Vision Kit 45M
[6 empty] | WD.V.60 | Wood Vision Kit 60M
[6 empty] | WD.V.90 | Wood Vision Kit 90M
[6 empty] | AEP1 | Automatic Entrance Pair - FG
[6 empty] | RV1 | Revolving
[6 empty] | W.D | Wood Dutch Door
[6 empty] | CG1 | Coiling Grille
[6 empty] | CR1 | Coiling/Rolling
[6 empty] | OS1 | Overhead Sectional
[6 empty] | Other | Other
[6 empty] | AEP1 | Automatic Entrance Pair - FG
[6 empty] | AEP2 | Automatic Entrance Pair - FG2
[6 empty] | AES1 | Automatic Entrance Single-FG
[6 empty] | AES2 | Automatic Entrance Single - FG2
[6 empty] | BS1 | Bypassing Slider - FG
[6 empty] | BS2 | Bypassing Slider - FG2
[6 empty] | ASS1 | Auto Surface Slider - FG
[6 empty] | ASS2 | Auto Surface Slider - FG2
[6 empty] | ASP1 | Bi-Parting Surface Slider - FG
[6 empty] | ASP2 | Bi-Parting Surface Slider - FG2
[6 empty] | TS1 | Telescoping Slider - FG
[6 empty] | TS2 | Telescoping Slider - FG2
[6 empty] | AET1 | Auto Tele. Slider - FG
[6 empty] | AET2 | Auto Tele. Slider - FG2
[6 empty] | SS1 | Surface Slider - FG
[6 empty] | SS2 | Surface Slider - FG2
[6 empty] | SBAL1 | Single Alum. Bifold - FG
[6 empty] | SBAL2 | Single Alum. Bifold - FG2
[6 empty] | PBAL1 | Pair Alum. Bifold - FG
[6 empty] | PBAL2 | Pair Alum. Bifold - FG2
[6 empty] | GBS1 | Glass Bi-Sliding Top Rail
[6 empty] | GBS2 | Glass Bi-Sliding Hangers
Note on L8: Candy, Paul: Hold open Closer